## Slide 1: Observation of Skewed Electromagnetic Wakefields in an Asymmetric Structure Driven by Flat Electron Bunches
W. Lynn, G. Andonian, N. Majernik, S. O’Tool, J. Rosenzweig | UCLA
S. Doran, H. Gwanghui, J. Power, C. Whiteford, E. Wisniewski | Argonne National Laboratory
P. Piot, T. Xu | Northern Illinois University

## Slide 2: Overview
Background
Experimental overview/setup
Beam parameters and generation
Dielectric structure in question
Theoretical analysis
Simulations
Results
Wakefield reconstruction
e-

## Slide 3: Background
What did we do?
Why Dielectric Wakefield Acceleration?
Why flat beams?
Why tilt flat beams?
X
Y
X
Y

## Slide 4: Experimental Setup
Main AWA beamline
YAG screens for transverse profile
Deflecting cavity and spectrometer

## Slide 5: Beam
X
Y
X
Y
YAG image of beam with tilt 1
YAG image of beam with tilt 2

## Slide 6: Round to Flat
Flat beam generated with round-to-flat transformer
Tilt angles generated by tweaking transformer process

## Slide 7: Dielectric Structure
Two 5x15x0.5cm slabs of alumina
Sputtered copper on exterior face

## Slide 8: Analytical model for upper bound of transverse forces
Y
X
X
Derivation omitted
S. S. Baturin and A. D. Kanareykin, New method of calculating the wakefields of a point charge in a waveguide of arbitrary cross section, Phys. Rev. Accel. Beams 19, 051001 (2016).

## Slide 9: Simulations
Particle in cell simulations with CST Studio Suite and WARP
Tilt 1
Tilt 2
At structure location
After drift with Structure
After drift without Structure

## Slide 10: Experimental Results
Tilt 1
Tilt 2
At structure location
After drift with Structure
After drift without Structure
Single Slab
Double Slab

## Slide 11: Wakefield Analysis
𝜖fit
Parameter vector
Without-structure screen image
With-structure
screen image
Particles
Particle transform
Binned test population
Binned with-structure population
Binwise errors
Reconstructed wakefield
Skew and normal quadrupole coefficients
Notes: Nathan’s talk WG5: S8

## Slide 12: Conclusion
Goal to better understand DWA interaction leading to beam breakup
Skew wakes unexpected but interesting result
Novel analysis tools required
Submitting to journal soon
Thank you to everyone who worked on this