## Slide 1: The Argonne Wakefield Accelerator Beam Test Facility for Novel Accelerator Research
The awa facility
John power
Argonne National Laboratory
Nov 7, 2022
Hauppauge, NY
Working Group 8
Advanced Laser and Beam Technology and Facilities
https://www.anl.gov/awa

## Slide 2
What I hope you learn today …
outline
What type of FACILITY is AWA?
What type of SCIENCE do we do at AWA?
What CAPABILITIES does AWA have?
How can you COLLABORATE with AWA?

## Slide 3
What I hope you learn today …
outline
What type of facility is AWA?
What type of science do we do at AWA?
What capabilities does AWA have?
How can you collaborate with AWA?

## Slide 4: Awa is a USA beam test facility
*Not an exhaustive list of facilities
Beam test facilities mission
Providing experimental test beds for the experimental validation emerging accelerator science
Developing the S&T needed to enable the next generation of science facilities and accelerator applications.
Educating and training future scientists and engineers.
Particle Beam
Laser Beam
Large-scale beam test facilities*
O(100) MeV energy particle beams
O(10) Petawatt drive lasers
U.S. advanced and novel accelerator beam test facilities
[C. Clarke et al 2022 JINST 17 T05009, https://iopscience.iop.org/article/10.1088/1748-0221/17/05/T05009 ]

## Slide 5: USA beam test facilities
Demonstrating the viability of emerging accelerator science ultimately relies on experimental validation.
U.S. advanced and novel accelerator beam test facilities
[C. Clarke et al 2022 JINST 17 T05009, https://iopscience.iop.org/article/10.1088/1748-0221/17/05/T05009 ]
ATF
BELLA
ELL
UT3
Laser Beam
National Laboratories
Universities
FAST/IOTA
AWA
FACET-II
Particle Beam

## Slide 6: the Awa Facility
Beam Test Facility to enable novel acceleration
Drive RF Photoinjector (65 MeV)
  single bunch: 100nC
  bunch train: 600 nC
Argonne Cathode Test Stand (2-4 MeV)
Cathode research and diagnostics
Physics of high-gradient breakdown
Witness RF photoinjector (15 MeV)
Provides two-beam capability
Bright beams for low-energy experiments
Experimental Switchyard
Highly reconfigurable
6D phase space manipulation

## Slide 7
What I hope you learn today …
outline
What type of FACILITY is AWA?
What type of SCIENCE do we do at AWA?
What CAPABILITIES does AWA have?
How can you COLLABORATE with AWA?

## Slide 8: The Argonne Wakefield accelerator
AWA SCIENCE Developing the Accelerator Science & Technology (AS&T) of electron beam production, beam manipulation and novel acceleration for electron beam-driven wakefield acceleration for a future applications.
8
enabling GV/m STRUCTURE WAKEFIELD acceleration (SWFA) to produce bright GeV-class electron beams
IP
e-
e+
3TeV
SWFA 3 TeV linear collider
SWFA XFEL
Long-term
  Multi-TeV e+e- linear collider
  Higg’s Factory
Mid-term
  XFEL light sources
  Inverse Compton sources
Near-term
  Compact accelerators for societal applications
    Industrial
    Security
    Medical applications
18 km
0.2 km
future applications

## Slide 9: The Argonne Wakefield accelerator
Roadmap
High power MW – THz sources
Cost effective, ultracompact structures
Advanced beam manipulation techniques
Compact light source
TeV e+e- linear collider
XFEL Light Source
AWA SCIENCE: long term and midterm targets
GW power RF
– GHz sources
GV/m level of gradient
50% of RF-beam efficiency
0.5 GeV demonstrator
10GeV stepping-stone facility
GW power RF
– GHz sources

## Slide 10: The Argonne Wakefield accelerator
AWA SCIENCE: themes
APPLICATION
Beam Production
Electron sources
  High-brightness
  High-intensity
e.g. RF Photoinjector
THEME 3
Beam Manipulation
Beam shaping & control.
Beam Diagnostics.
e.g. Double Emittance Exchange
THEME 2
Advanced Accelerator
SWFA & PWFA
  High-Gradient
  High-Efficiency
e.g. SWFA
THEME 1

## Slide 11: The Argonne Wakefield accelerator
Beam-driven wakefield acceleration (T1-T3)
Structure Wakefield Acceleration (SWFA)
  Collinear Wakefield Acceleration (CWA)
  Two-Beam Acceleration (TBA)
Plasma Wakefield Acceleration (PWFA)
RF Acceleration Technology (T1)
100’s MV/m NCRF short-pulse structures
100’s MW NCRF short-pulse power source
Accelerator and Beam Physics (T2-T3)
6D phase space manipulation
Electron cooling
Novel diagnostics (Single-shot, AI/ML Virtual, etc.)
Electron sources (T3)
Photo and field emission. High brightness beams.
Machine Learning (T2-T3)
ML for machine control, virtual diagnostics and physics
Research areas (GARD Roadmaps)
AWA SCIENCE: DOE-GARD
2015: General Accelerator R&D.
2016: Advanced Accelerator Concepts Roadmap
2017:
Radiofrequency Roadmap
2023:
Accelerator and Beam Physics Roadmap
?
2023:
P5 guidance

## Slide 12: Novel accelerator research
drive beam
main beam
Two Types of Structure Wakefield Acceleration
Two Beam Acceleration*
Collinear Wakefield Acceleration
*Plenary: Session 4, Tuesday 10:30AM. Xueying Lu, Breakdown insensitive acceleration regime in structure wakefield acceleration
Advanced Accelerator
THEME 1

## Slide 13: Novel accelerator research
Two Beam Acceleration in the short-pulse regime
Advanced Accelerator
THEME 1
Acceleration Gradient
High gradient acceleration with novel structures
Accelerator
  300 MV/m single-cell metallic
  400 MV/m RF gun
  100 MV/m Dielectric Disk Accelerator
Dielectric disk accelerator
WG3 Monday 4PM, Ben Freemire
High Power Test Results of X-Band Dielectric Disk Accelerating Structures
WG3 Monday 4PM, Sarah Weatherly
Simulation Results of a Clamped Multicell Dielectric Disk Accelerating Structure
examples
WG3 Monday 4:30PM, Chunguang Jing Cryogenic Dielectric Accelerating Structures
Cryogenic Dielectric Corrugated accelerator
WG3: Tuesday, 3:30PM, Chunguang Jing
Evaluation of DLC (diamond-like carbon) Coating on Multipactor Suppression
Multipactor Suppression
[Friemire et al., submitted to PRAB]
[Shao et al., IPAC22, FROXSP2 (2022)]
[Tan, et al., PRAB 25, 083402 (2022)]

## Slide 14: Novel accelerator research
Two Beam Acceleration in the short-pulse regime
Advanced Accelerator
THEME 1
High Power RF generation
PETS
565 MW Metamaterial PETS
520 MW Metallic PETS
Power Extraction and Transfer Structure (PETS)
examples
[Picard et al., PRAB 25, 051301 (2022)]
[unpublished]
Metamaterial PETS
Metallic PETS

## Slide 15: Accelerator and beam physics
Conserving beam brightness
Beam Manipulation
THEME 2
drive beam
main beam
accelerating structure
external focusing
Beam instability mitigation
WG4 Monday 2:15PM, Walter Lynn
Observation of Skewed Electromagnetic Wakefields in an Asymmetric Structure Driven by Flat Electron Bunches
WG4 Monday 2:30PM, Walter Lynn
Transverse Stability in an Alternating Gradient Planar Dielectric Wakefield Structure
Beam instability:
Skew-quadrupole wakefield

## Slide 16: Accelerator and beam physics
Bunch shaping
Beam Manipulation
THEME 2
WG5 Monday 1:50 PM, Nathan Majernik
Beam shaping using an ultra-high vacuum multileaf collimator and emittance exchange beamline
WG4/5 Tuesday 3:48 PM, Seongyeol Kim
Longitudinal bunch shaping using transverse deflecting cavities at Argonne Wakefield Accelerator Facility
TDC #1
+ V
TDC #2
Mask
Quad
(Hor. Focusing)
+ V
head
tail
[Tan et al., PRAB 24, 051303 (2021)]
simulations
Longitudinal: door-step
Transverse: Flat-beam
[Xu et al., PRAB 24, 051303 (2021)]
Current research focus
Transverse and longitudinal bunch control

## Slide 17: Accelerator and beam physics
Sub-GV/m X-band photocathode gun
400 MV/m
X-band photocathode gun
Beam Production
THEME 3
[W.H. Tan, et al., “Demonstration of sub-GV/m Accelerating Field in a Photoemission Electron Gun Powered by Nanosecond -Band Radiofrequency Pulses”, PRAB 25, 083402 – Published 24 August 2022]
COAXIAL RF-INPUT
COUPLER
IRIS DISK
WGs 3+5: Tuesday, 1:50pm Gongxiaohui Chen
Report on experimental results of a sub-GV/m photocathode gun
WGs 3+5: Tuesday, 1:30pm Sergey Kuzikov
Development of High Brightness Photoinjector for AWA
1.5 Cell X-band photocathode gun
[Shao et al., IPAC22, FROXSP2 (2022)]

## Slide 18
Bright beams
Beam Production
THEME 3
[Halavanau et al., PRAB 20, 103404 (2017)]
Laser shaping for beam control
  Transverse: Multi-Lens Array (MLA)
  Longitudinal: : Temporal shaping via frequency-conversion (SOD and TOD) process
World’s high Q photocathode gun
Intense drive bunches
    High-quantum-efficiency cathodes
    Beam dynamics in intense space- charge regime
    Generation of bunch train
Accelerator and beam physics
Intense beams
[T. Xu et al., NAPAC22, MOPA78 (2022)]

## Slide 19
Beam Production
THEME 3
Accelerator and beam physics
Precision diagnostics
Single-shot phase-space-mapping methods
  Longitudinal phase space ("live" measurement of drive- and main-bunch dynamics)
  Transverse phase space
main bunch
drive bunch
DWFA inserted
[Gao et al., PRAB 21, 062801 (2018)]
experiment
[G. Ha et al., PRAB 24, 012802 (2021)]
Longitudinal profile
  Phase-diversity electro optic sampling (achieve sub-picosecond resolution over a long time-window, an open problem for single-shot techniques)
Poster: Tuesday, 5PM, Spencer Kelham
Numerical Studies of Phase Diversity Electro-Optic Sampled Relativistic Electron Bunches

## Slide 20
What I hope you learn today …
outline
What type of FACILITY is AWA?
What type of SCIENCE do we do at AWA?
What CAPABILITIES does AWA have?
How can you COLLABORATE with AWA?

## Slide 21: the Awa Facility
5 Zones
Witness
Drive
AWA Bunker
AWA Vacuum and Experimental Zones
ACT
EXPERIMENTAL AREA
Zones 2-5 are experimental areas
Zones 2, 4, and 5 have ~ 1 m experimental area
Zones 3A & 3B are fully re-configurable

## Slide 22
Single bunch parameters | Value
Charge [nC] | 0.1 – 100
Energy [MeV] | 6 – 63
Rep. rate [Hz] | 0.5 – 10
Bunch length [mm] | 0.1 - 3
Transverse emittance [µm] | 0.5 - 240
Peak Current [kAmps] | 0.5 - 25
*Available energy and rep. rate are not continuous.
*The range showing all range. Actual range depends on charge level.
AWA capabilities - current
L-band photo-gun
(Cs2Te)
Laser Shaping
(α-BBO, multi-splitter, MLA, SLM, etc)
Flat beam transformer
Double emittance exchange beamline
6D PHASE SPACE MANIPULATION BEAMLINES
Special operations | Value | 
Bunch train | Modulation freq. [GHz] | 1.3 – 103
 | Charger per bunch [nC] | <70
Longitudinal shaping | Shape | Arbitrary
 | Charge [nC] | <5
Flat beam | Charge [nC] | <5
 | Emittance ratio | <150
Transverse shaping | Available type | Dot-array Hollow

## Slide 23: AWA capabilities: continuous improvements
Photocathode laser (Vitara Oscillator & MPA): --------------------------------------------------------- completed 2020
RF symmetrized Photocathode Gun: ----------------------------------------------------------------------------- 2023
RF symmetrized Accelerating Cavities: --------------------------------------------------------------------------- 2024
Photocathode Laser Room Temp Ctrl: --------------------------------------------------------------------- completed 2021
EPICS control system w/ APS controls group ----------------------------------------------------------- completed 2022
Digital LLRF controls w/ APS and LBL LLRF groups ---------------------------------------------------------- 2024
High Power RF system w/ APS RF group (2 new klystrons) ------------------------------------------------ 2025
CONTINUOUS UPGRADES
PROJECT ---------------------------------------------------------------------------------- FINISH
Improving beam quality and stability
Adding facility capabilities
Operating hours
UPGRADES

## Slide 24
What I hope you learn today …
outline
What type of FACILITY is AWA?
What type of SCIENCE do we do at AWA?
What CAPABILITIES does AWA have?
How can you COLLABORATE with AWA?

## Slide 25: the awa facility: uses a collaborator model
A balanced between in-house and collaborative research
in-house
program
collaborators
program
AWA welcome collaborators
students?
Advanced Accelerator
Beam Manipulation
Beam Production
Collaborator R&D is synergistic with AWA R&D

## Slide 26
STRONG INDUSTRY
CONNECTIONS
Beam
Physics
Seong-Yeol Kim
Advanced Accelerator Concepts
Chunguang Jing
Euclid/AWA
Beam
Physics
Philippe Piot
NIU/ANL
Group Leader
John Power
STRONG UNIVERSITY
CONNECTIONS
Advanced Accelerator Concepts
Xueying Lu
NIU/ANL
Controls & RF Systems
Wanming Liu
Mech. & Civil Engineering
Scott Doran
AWA Facility Manager
Eric Wisniewski
Charles Whiteford
Making things work
Advanced Accelerator Concepts
Gonxiaohui Chen
Contact anyone at AWA to initiate a collaboration
https://www.anl.gov/awa
NATIONAL LABORATORY
AWA group
At AAC
26

## Slide 27
AWA Collaborator Program

## Slide 28: The AWA facility: summary
Seeking a path to the next generation of accelerators
A HEP-GARD beam test facility
  Developing electron beam-driven wakefield acceleration
  Future applications (multi-TeV LC, XFEL, …)
Science
  Beam production (high brightness and high intensity)
  Beam manipulation (longitudinal and transverse bunch shaping)
  Advanced Accelerators (SWFA and PWFA)
Capabilities
  65 MeV Drive, 15 MeV witness and 3 MeV ACT beamlines
  Double emittance exchanger, laser shaping, round-flat transformer, …
Collaborations
  AWA facility operates a collaborator model
  Open for collaborations
    https://www.anl.gov/awa

## Slide 29
WG8: Monday, 1:50PM
The Argonne Wakefield Accelerator Beam Test Facility for Novel Accelerator Research
Speaker: John Power
WG5: Monday, 1:50PM
Beam shaping using an ultra-high vacuum multileaf collimator and emittance exchange beamline
Speaker: Nathan Majernik
WG4: Monday, 2:15PM
Observation of Skewed Electromagnetic Wakefields in an Asymmetric Structure Driven by Flat Electron Bunches
Speaker: Walter Lynn
WG4: Monday, 2:30PM
Transverse Stability in an Alternating Gradient Planar Dielectric Wakefield Structure
Speaker: Walter Lynn
WG3: Monday, 3:30PM
High Power Test Results of X-Band Dielectric Disk Accelerating Structures
Speaker: Ben Freemire
WG3: Monday, 4:00PM
Simulation Results of a Clamped Multicell Dielectric Disk Accelerating Structure
Speaker: Sarah Weatherly
WG3: Monday, 4:30PM
Cryogenic Dielectric Accelerating Structures
Speaker: Chunguang Jing
Plenary 4: Tuesday, 10:30AM
Breakdown insensitive acceleration regime in structure wakefield acceleration
Speaker: Xueying Lu
WG3: Tuesday, 1:30PM
Development of High Brightness Photoinjector for AWA
Speaker: Sergey Kuzikov
WG3: Tuesday, 1:50PM
Report on experimental results of a sub-GV/m photocathode gun
Speaker: Gongxiaohui Chen
WG3: Tuesday, 3:30PM
Evaluation of DLC (diamond-like carbon) Coating on Multipactor Suppression
Speaker: Chunguang Jing
WG4+5: Tuesday, 3:48PM
Longitudinal bunch shaping using transverse deflecting cavities at Argonne Wakefield Accelerator Facility¶
Speaker: Seongyeol Kim
Poster: Tuesday 5:00PM
Numerical Studies of Phase Diversity Electro-Optic Sampled Relativistic Electron Bunches
Speaker: Spencer Kelham
Tuesday
Monday

## Slide 30
Backup slides

## Slide 31: ABP-AAC symbiosis
Argonne Cathode Test Stand
Beam Production
THEME 3
Faraday cup
& YAG
Laser
input
Collimator
& slit
Faraday cup
& YAG
BPM
NCRF gun characterization of novel photocathodes
NCRF gun characterization of field emission cathodes
NCRF breakdown studies: location, lifetime, …

## Slide 32
Integrating it all together
Recent results on transformer ratio enhancement
Enhanced transformer ratio (TR>5) demonstrated using shaped beam via phase- space exchanger
So far TR performances realized at the expense of peak field
Current research focus: Demonstrate high TR with high-accelerating field (AWA-IIT-NIU collaboration)
[Gao et al., PRL 124, 114801 (2018)]
[Roussel et al., PRL 120, 044802 (2020)]
41
R=7.9
R=5