## Slide 1: Progress Towards 100pC 100nm Beams at Pegasus

## Slide 2: Palitra Optical Parametric Amplifier
Palitra OPA converts input 800nm pulse into a pulse tunable throughout the visible & ultraviolet
To satisfy 100pC & 100nm constraints, we will likely need to be able to tune the excess energy
  For example, in metals we expect
&
VIS2
UV2
Schematic of the Palitra OPA

## Slide 3: Semiconductor Cathodes
We are receiving 3 cathodes from SLAC early-mid March
  2 CsSb & 1 CsTe
Cathodes are being revived next week, QE measured on 2025/02/20
  @ 405nm: 1.4e-3
Improvements in transport
  Ion pump operational during transport for active pumping
  QE monitor to track state of cathode during transport
Suitcase at SLAC with CsSb cathode & collection coil to measure photocurrent

## Slide 4: INFN Wafer Compatible Plug
To take advantage of recent developments on growth of single crystal semiconductor cathodes, we modify the INFN plug to accept a wafer of our choice
Post screws into shell to hold a 7mm diameter wafer
  Nose designed optimized in Superfish codes to have a 38% larger peak field compared to the cathode center
Notes:   This can just be a stepping stone? In the future we can specialize how to hold a specific wafer to avoid these nose issues
  Add lens to the back of the plug for small spots?