## Slide 1: Hunting the Dark Matter Axion with the ADMX experiment
Intense Electron Beam Workshop - Cornell
Gianpaolo Carosi
June 18th, 2015

## Slide 2: Evidence for Dark Matter
Evidence
Spiral Galaxy Rotation Curves
Clusters of Galaxies
-X-ray gas temperatures
-Gravitational Lensing
-Motion of member galaxies
(Virial Theorem)
Large Scale Flows
Structure formation and the CMB
Fritz Zwicky (1933):
Galactic Dynamics
(Coma Cluster)

## Slide 3: Peccei and Quinn: CP conserved through a hidden symmetry
QCD CP violation should, e.g., give a large neutron electric dipole
moment (T + CPT = CP); none is unobserved.
(9 orders-of-magnitude discrepancy)
This leads to the “Strong CP Problem”: Where did QCD CP violation go?
1977: Peccei and Quinn: Posit a hidden broken U(1) symmetry 
1) A new Goldstone boson (the axion);
2) Remnant axion VEV nulls QCD CP violation.
Why doesn’t the neutron have
an electric dipole moment?
de<310-26 e-cm
Baker et al. 2006
* L. Rosenberg – Princeton Talk Oct 2014

## Slide 4
The axion.
The axion remains a very attractive dark-matter candidate
(affirmed by HEPAP, DMSAG, etc)
The ADMX axion search is “definitive” and relatively inexpensive
It’s a pseudoscalar (π°-like), extremely light and weakly coupled
2γ coupling (Primakoff effect) : Key to possible detection
gaγγ

## Slide 5: Variety of experiments*…
Microwave Cavities
  Low noise amplifiers (ADMX) and Rubidium Atoms (CARRACK)
    Look for dark matter axions (low mass) converting to photons in B-Field
    Will focus today on ADMX project.
Solar Observatories
  X-Ray (CAST) and Germanium detectors
    Look for axions generated from the sun
    Higher coupling required than for DM axions.
Lab experiments
  Photon regeneration and polarization changes (PVLAS)
    Look for production of axions from light passing through B-field
    Higher coupling required.
    Ultralight axions (nano-eV)
    (NMR / LC Circuit)
  *See August 2010 Physics Today for experimental overview
axion
X-ray
CAST
CARRACK

## Slide 6: Axion Dark Matter eXperiment (ADMX) and ADMX-High Frequency collaboration
Lawrence Livermore National Laboratory – ADMX began here in the mid-1990s.
Gianpaolo Carosi, Darrell Carter, Jaime Ruz Armendariz
University of Washington – main experiment moved here in 2010.
Leslie Rosenberg, Gray Rybka, Michael Hotz, Andrew Wagner, Doug Will, Dmitry Lyapustin,
Christian Boutan, Jim Sloan, Ana Malagon, Rich Ottens, Hannah LeTourneau, Cliff Plesha
University of Florida
David Tanner, Pierre Sikivie, Neil Sullivan, Jeff Hoskins, Jungseek Hwang, Catlin Martin,
Ian Stern, Nicole Crisosto
National Radio Astronomy Observatory
Richard Bradley
University of California, Berkeley
Karl van Bibber,Tim Shokair, John Clarke, Jaben Root, John Norton, Ben Clemens,
Maria Simanovskaia, Kelly Backes, Isabella Urdinaran
Fermilab (recently joined)
Aaron Chou, Will Wester, Andrew Sonnenschein, Swapan Chatopadhyay
Sheffield University
Edward Daw
Yale University (ADMX-HF - NSF sponsored)
Steve Lamoreaux, Yulia Gurevich, Ben Brubaker, Sidney Cahn
University of Colorado (ADMX-HF – NSF sponsored)
Konrad Lenhert, Memhet Ali, Dan Palken
Notes: Add color to for people who are directly involved in the bead pull measurements and cavity modeling

## Slide 7
The Axion Dark Matter eXperiment (original concept from P. Sikivie)
E/E ~ 10–22
Local Milky Way density:
halo ~ 450 MeV/cm3
Thus for ma ~ 10 eV:
halo ~ 1014 cm–3
virial ~ 10–3 :
De Broglie ~ 100 m
flow ~ 10–11 :
Coherence ~ 1000 km
“Medium Resolution” channel
“High Resolution” channel

## Slide 8: The radiometer eqn.* dictates the strategy
* Dicke, 1946
But integration time limited to ~ 100 sec
System noise temp. now
TS = T + TN ~ 1.5 + 1.5 K
But TQuant ~ 30 mK
INVEST HERE!
Psig ~ ( B2V Qcav )( g2 ma ra )
~ 10–23 watts
But magnet size, strength B2V ~ $

## Slide 9: More about the Microwave Cavity
Transmittance between Antennas
Frequency
Antennas
Tuning Rod
Cavity
1.5 GHz
* LLNL sponsored HMC Clinic Final Presentation – 2010

## Slide 10: More about the Microwave Cavity
Frequency
Tuning Rod
Transmittance between Antennas
1.5 GHz
1.6 GHz
* LLNL sponsored HMC Clinic Final Presentation – 2010

## Slide 11
Example of single injected signal (with SQUID amplifiers)
Injected Power
Noise floor
Bandpass filter

## Slide 12: Typical Run Cadence

## Slide 13
Sample data and candidates
Notes: 13

## Slide 14: Phase I & II Upgrade path: Quantum-limited SQUID-based amplification
SQUIDs have been measured with
TN ~ 50 mK
Near quantum– limited noise
Provides an enormous increase in ADMX sensitivity
At LLNL SQUID development was sponsored by LDRD.
HFET amplifiers
> 2 K
SQUID amplifiers

## Slide 15
The Axion Dark Matter eXperiment
Stage | Phase 0 | Phase I | Gen II
Technology | HEMT; Pumped LHe | Replace w. SQUID | Add Dilution Fridge
Tphys | 2 K | 2 K | 100 mK
Tamp | 2 K | 1 K | 100 mK
Tsys = Tphys + Tamp | 4 K | 3 K | 200 mK
Scan Rate  (Tsys ) –2 | 1 @ KSVZ | 1.75 @ KSVZ | 5 @ DFSZ
Sensitivity Reach g 2  Tsys | KSVZ | 0.75 x KSVZ | DFSZ
OR
AND !
1996-2006 @ LLNL
2008-2010 @ LLNL
2015-2019 @ UW

## Slide 16
ADMX Experimental Apparatus
Field compensation
magnet for SQUIDs
SQUID
amplifier
140 liter microwave cavity
(500 MHz - 1 GHz)
8 Tesla Magnet
11’

## Slide 17
ADMX Phase I: 2008-2010
Successfully operated experiment with SQUID amp near 7 Tesla field and published results!
Covered 812 – 860 MHz = 48 MHz
Total Run Time: 19 months
Continuous Data Collecting: 8 months
Medium Res. results
High Res. results

## Slide 18
ADMX Phase II / Gen2: Moved ADMX main magnet and insert to the U. of Washington

## Slide 19
Insert Rebuilt at UW: Initial Data-Taken summer of 2014 at 1.5K

## Slide 20: ADMX Phase II: Instrument the TM010 & TM020 modes
TM020 Mode
Relative Frequency
2.3
Tuning Range
920-2,100 MHz
Relative Power
0.41
TM010 Mode
Relative Frequency
1.0
Tuning Range
400-900 MHz

## Slide 21: ADMX: Multi-mode readout
filter
filter
TM010
TM020
receiver
receiver
DAQ
cold
warm

## Slide 22: Phase II Engineering Run (Tphysical~ 1.5 K)
Data taken spring - summer 2014 while awaiting dilution fridge
TM010- 590-630 MHz , 720-760 MHz
TM020- 1050-1080 MHz, 1210-1280 MHz, 1350-1390 MHz
TM010 Mode
TM020 Mode
We anticipate new best limits in the TM020 range
Final analysis is ongoing (recent Ph.D thesis from D. Lypustin)

## Slide 23: Dilution Refrigerator: Passed performance tests! Janis Research: March 11th, 2015
> 800 μW cooling power at 100 mK
ADMX personnel at Janis for acceptance testing
Notes: Add another slide that shows the

## Slide 24: Delivered Mar 30th: Started 6 months of commissioning
Cavity
top plate
1K plate
LHe reservoir
1K pot
Mixing chamber
Still
ADMX
Dilution Fridge
at Janis
Notes: Add another slide that shows the

## Slide 25: ADMX Gen 2 Science Prospects: Year 1 (0.5 – 1 GHz)
Current Cavity
Two offset tuning rods

## Slide 26: ADMX Gen 2 Science Prospects: Year 2 (1 – 2 GHz)
Reconfigure current cavity
Add several more tuning rods

## Slide 27: ADMX Gen 2 Science Prospects: Year 3 (2 – 4 GHz)
4-cavity array
Similar setup was tested in Phase 0

## Slide 28: ADMX Gen 2 Science Prospects: Year 4 (4 – 8 GHz)
Photonic bandgap cavities

## Slide 29: ADMX Gen 2 Science Prospects: Year 5 (8 – 10 GHz)
Photonic bandgap cavities (1st half of 2019)

## Slide 30: ADMX Gen 2 Science Prospects: Year 5 ( < 0.5 GHz)
Slow-wave cavity
(2nd half of 2019)

## Slide 32: Science Targets of Opportunity
Chameleons in ADMX
Scalars/pseudoscalars that mix with photons, and are trapped by cavity walls. Arise in some dark energy theories.
Detectable by slow decay back into photons in cavity (afterglow)

## Slide 33: Science Targets of Opportunity
Hidden-sector photons
Vector bosons with photon quantum numbers and very weak interactions.
Detectable by reconverting HSPs back into photons in ADMX cavity

## Slide 34: Science Targets of Opportunity
Chameleons
Hidden-sector photons
Cannot run concurrently with
axion DM search
Can run concurrently with
axion DM search
Complementary with dedicated chameleon and paraphoton searches!
*G. Rybka et al., Phys. Rev. Lett. 105, 051801 (2010)
*A.Wagner et al., Phys. Rev. Lett. 105, 171801 (2010)

## Slide 35: Summary & Conclusions
Axions are a very compelling dark matter candidate!
ADMX has the capability to definitively detect or rule out the QCD axion as the majority dark matter in the 1-40 μeV mass range and we are at the cusp of such a definitive experimental search.
ADMX Phase IIa took data on TM010 & TM020 channels (currently being analyzed, presented later this summer).
ADMX selected as a DOE Gen 2 Dark Matter Project
Dilution Refrigerator has been delivered to UW March 30th, 2015!
We have begun commissioning the dilution refrigerator and expect to begin full operations at ~100 mK by Fall, 2015.
Plan to continuously take data from 250 MHz-10 GHz over next 5 years!
Shameless plug:
Workshop on Microwave Cavity Design for Axion Searches
Will take place at LLNL (Bay Area): Aug 25-27. Details out soon…

## Slide 36
Questions?

## Slide 37: ADMX – HF: High Frequency
Second ADMX site: Yale University – NSF & Heising-Simons Foundation Sponsored
New Superconducting Magnet
5” diameter, 20” long, 9.4 T
Dilution fridge already in place.

## Slide 38: Cavity – Single rod (“off-axis pivot”) design
Q factor ~ 18k (critically coupled)
Volume ~ 1 % that of ADMX
Dil Fridge
JPA amps
Cavity

## Slide 39: ADMX-HF: Recent Progress
Summer 2014: Cavity delivered to Yale; Beginning of Commissioning
Fall 2014: In-situ noise measurement, proof-of-principle data taking
Winter 2015: System warmed up for hardware upgrades
First data run taking place soon…
Tim Shokair
UCB Postdoc
Yulia Gurevich,
(Yale Postdoc)
Prof. Steve Lamoreaux (Yale)
Jaben Root (UCB)
Gianpaolo Carosi (LLNL)

## Slide 40: ADMX Gen 2 Science Prospects: Year 1 (0.5 – 1 GHz)
ADMX-HF year 1 target (4-6 GHz @ ~2*KSVZ)
Test-bed for R&D work